## PVsystem
Cost | (sterlin/kW) | $/kW | NPV | Year | CC | OM1 | OM2 | Rplacement | Tariff1 | Tariff2 | Generation(kWh) | Degredation | Generation
Capital cost | 447 | 540.87 | 540.87 | 0 | 540.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M | 6000 | 7260 | 12600 | 1 | 0 | 7260 | 0 | 0 | 0.12333 | 0.115 | 1351.668 | 0.996 | 1350.672
O&M | 4000 | 4840 | 32805.6484 | 2 | 0 | 7260 | 0 | 0 | 0.12333 | 0.115 | 1351.668 | 0.99202 | 1350.676
Replacement cost | 51 | 61.71 | 14.7729 | 3 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.98805 | 1350.68
Period of analysis | 20 |  |  | 4 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.9841 | 1350.6839
Discount rate | 10% |  |  | 5 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.98016 | 1350.6878
Degrdation | 0.004 |  |  | 6 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.97624 | 1350.6918
|  |  |  | 7 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.97233 | 1350.6957
Generation |  |  |  | 8 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.96844 | 1350.6996
Capacity (kW) | 1 |  |  | 9 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.96457 | 1350.7034
Capacity factor | 0.1543 |  |  | 10 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.96071 | 1350.7073
Generation (kWh) | 1351.668 |  | 11499.2486 | 11 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.95687 | 1350.7111
|  |  |  | 12 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.95304 | 1350.715
|  |  |  | 13 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.94923 | 1350.7188
|  |  |  | 14 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.94543 | 1350.7226
LCOE ($/kWh) | 3.9969 |  |  | 15 | 0 | 0 | 4840 | 61.71 | 0.12333 | 0.115 | 1351.668 | 0.94165 | 1350.7263
|  |  |  | 16 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.93788 | 1350.7301
|  |  |  | 17 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.93413 | 1350.7339
|  |  |  | 18 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.9304 | 1350.7376
|  |  |  | 19 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.92667 | 1350.7413
|  |  |  | 20 | 0 | 0 | 4840 | 0 | 0.12333 | 0.115 | 1351.668 | 0.92297 | 1350.745

## BatterySystem
Cost | (sterlin/kW) | $/kW | NPV |  | Year | CC | OM1 | OM2 | Rplacement | Fuelcost | Generation(kWh) | Degredation | Generation
Capital cost | 507 | 613.47 | 613.47 |  | 0 | 613.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M | 11 | 13.31 | 23.1 |  | 1 | 0 | 13.31 | 0 | 0 | 171.7647 | 1095 | 0.99708 | 1094.0029
O&M | 6.9 | 8.349 | 56.5897 | 79.6897 | 2 | 0 | 13.31 | 0 | 0 | 171.7647 | 1095 | 0.99417 | 1094.0058
Replacement cost | 156 | 188.76 | 60.1448 |  | 3 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.99127 | 1094.0087
Period of analysis | 20 |  |  |  | 4 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.98837 | 1094.0116
Discount rate | 10% |  |  |  | 5 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.98549 | 1094.0145
Degrdation | 0.00292 |  |  |  | 6 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.98261 | 1094.0174
Fuel cost ($/kWh) |  | 0.13333 |  |  | 7 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.97974 | 1094.0203
Annual Fuel cost ($/kW) |  | 171.7647 | 1462.3298 |  | 8 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.97688 | 1094.0231
[5 empty] | 9 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.97402 | 1094.026
Generation |  |  |  |  | 10 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.97118 | 1094.0288
Capacity (kW) | 1 |  |  |  | 11 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.96834 | 1094.0317
Efficiency | 0.85 |  |  |  | 12 | 0 | 0 | 8.349 | 188.76 | 171.7647 | 1095 | 0.96552 | 1094.0345
Charging hours/day | 3 |  |  |  | 13 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.9627 | 1094.0373
[5 empty] | 14 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.95989 | 1094.0401
Generation (kWh) | 1095 |  | 9314.0226 |  | 15 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.95708 | 1094.0429
[5 empty] | 16 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.95429 | 1094.0457
LCOE ($/kWh) | 0.23788 |  |  |  | 17 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.9515 | 1094.0485
[5 empty] | 18 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.94872 | 1094.0513
[5 empty] | 19 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.94595 | 1094.054
[5 empty] | 20 | 0 | 0 | 8.349 | 0 | 171.7647 | 1095 | 0.94319 | 1094.0568

## BiomassBoiler
Cost | (sterlin/kW) | $/kW | NPV | Year | CC | OM1 | OM2 | Rplacement | Fuelcost | Generation(kWh) | Degredation | Generation
Capital cost | 361 | 436.81 | 436.81 | 0 | 436.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M | 22 | 26.62 | 226.6311 | 1 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.99708 | 3284.0029
O&M |  |  |  | 2 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.99417 | 3284.0058
Replacement cost |  | 0 | 0 | 3 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.99127 | 3284.0087
Period of analysis | 20 |  |  | 4 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.98837 | 3284.0116
Discount rate | 10% |  |  | 5 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.98549 | 3284.0145
Degrdation | 0.00292 |  |  | 6 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.98261 | 3284.0174
Fuel cost ($/kWh) |  |  |  | 7 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.97974 | 3284.0203
Annual Fuel cost ($/kW) |  | 318.82 | 1398.3528 | 8 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.97688 | 3284.0231
|  |  |  | 9 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.97402 | 3284.026
Generation |  |  |  | 10 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.97118 | 3284.0288
Capacity (kW) | 1 |  |  | 11 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.96834 | 3284.0317
|  |  |  | 12 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.96552 | 3284.0345
Plant factor | 0.375 |  |  | 13 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.9627 | 3284.0373
|  |  |  | 14 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.95989 | 3284.0401
Generation (kWh) | 3285 |  | 27958.7271 | 15 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.95708 | 3284.0429
|  |  |  | 16 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.95429 | 3284.0457
LCOE ($/kWh) | 0.073744 |  |  | 17 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.9515 | 3284.0485
|  |  |  | 18 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.94872 | 3284.0513
|  |  |  | 19 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.94595 | 3284.054
|  |  |  | 20 | 0 | 26.62 | 0 | 0 | 164.25 | 3285 | 0.94319 | 3284.0568

## ElectricBoiler
Cost | (sterlin/kW) | $/kW | NPV | Year | CC | O&M | O&M | Rplacement | Fuel cost | Generation(kWh) | Degredation | Generation
Capital cost |  | 6450 | 6450 | 0 | 6450 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M |  | 210.24 | 1789.8916 | 1 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.99708 | 3284.0029
O&M |  | 0 | 0 | 2 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.99417 | 3284.0058
Replacement cost |  | 0 | 0 | 3 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.99127 | 3284.0087
Period of analysis | 20 |  |  | 4 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.98837 | 3284.0116
Discount rate | 10% |  |  | 5 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.98549 | 3284.0145
Degradation | 0.00292 |  |  | 6 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.98261 | 3284.0174
Fuel cost ($/kWh) |  | 0.12 |  | 7 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.97974 | 3284.0203
Annual Fuel cost ($/kW) |  | 394.2 | 3356.0468 | 8 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.97688 | 3284.0231
|  |  |  | 9 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.97402 | 3284.026
Generation |  |  |  | 10 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.97118 | 3284.0288
Capacity (kW) | 1 |  |  | 11 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.96834 | 3284.0317
|  |  |  | 12 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.96552 | 3284.0345
working hours | 9 |  |  | 13 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.9627 | 3284.0373
|  |  |  | 14 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.95989 | 3284.0401
Generation (kWh) | 3285 |  | 27958.7271 | 15 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.95708 | 3284.0429
|  |  |  | 16 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.95429 | 3284.0457
LCOE ($/kWh) | 0.41475 |  |  | 17 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.9515 | 3284.0485
|  |  |  | 18 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.94872 | 3284.0513
|  |  |  | 19 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.94595 | 3284.054
|  |  |  | 20 | 0 | 210.24 | 0 | 0 | 394.2 | 3285 | 0.94319 | 3284.0568

## Sheet1
Technology | Component | Size | Capital Cost | Capital Cost (sterlin/kW) | Operation Cost (Sterlin/kW) |  | Life time (yr) | Annual degration (%) | Replacement (sterlin/kW) | Availability (%) | discount rate | Annual capacity factor
Solar PV system | Solar Panel |  | Modules | 222 | C1=6000 | yr 1&2 | N= 40 | Degr =0.4 | Inverter | 99 | r = 0.1 | 15.83%
| Inverter |  | Install | 225 | C2=4000 | yr above 2 |  |  | replacement cost = 51
| Wires | [7 empty] | replacement require
| Protecing device(MCCB) |  | CapCost | 447 |  |  |  |  | yr 15 & 30
Transformer
Battery Bank | Batteries |  | BESS-2hr | 430 | 11 | yr 1&2 | 25 | 0.004 of MWh per cycle | 156 | 97
| Charger |  | MV switchgear | 13 | 6.9 | yr above 2 |  | No. cycle per day = 2 | Augmentation require
| Wires |  | Electric work | 11 |  |  |  |  | yr 12
|  |  | Civil work | 53
|  |  | Total | 507
Natural gas boiler | boiler
storage tank
Biomass boiler | boiler
firewood
Electric boiler | boiler

## PV
Cost | (sterlin/kW) | $/kW | NPV | Year | CC | O&M | O&M | Rplacement |  | Generation(kWh) | Degredation | Generation | Total cost | Total revenue | Total benefit | Cumulative | Co2 charge
Capital cost | 447 | 540.87 | 540.87 | 0 | 540.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 540.87 | 0 | -540.87 | -540.87
O&M | 60 | 72.6 | 104.1322 | 1 | 0 | 60 | 0 | 0 | 1 | 1351.668 | 0.996 | 1350.672 | 60 | 180 | 120 | -420.87
O&M | 40 | 48.4 | 271.1211 | 2 | 0 | 60 | 0 | 0 | 1 | 1351.668 | 0.99202 | 1350.676 | 60 | 180 | 120 | -300.87
Replacement cost | 51 | 61.71 | 12.209 | 3 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.98805 | 1350.68 | 40 | 180 | 140 | -160.87
Period of analysis | 20 |  |  | 4 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.9841 | 1350.6839 | 40 | 180 | 140 | -20.87
Discount rate | 10% |  |  | 5 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.98016 | 1350.6878 | 40 | 180 | 140 | 119.13
Degrdation | 0.004 |  |  | 6 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.97624 | 1350.6918 | 40 | 180 | 140 | 259.13
|  |  |  | 7 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.97233 | 1350.6957 | 40 | 180 | 140 | 399.13
Generation |  |  |  | 8 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.96844 | 1350.6996 | 40 | 180 | 140 | 539.13
Capacity (kW) | 1 |  |  | 9 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.96457 | 1350.7034 | 40 | 180 | 140 | 679.13
Capacity factor | 0.1543 |  |  | 10 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.96071 | 1350.7073 | 40 | 180 | 140 | 819.13
Generation (kWh) | 1351.668 |  | 11499.2486 | 11 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.95687 | 1350.7111 | 40 | 180 | 140 | 959.13
|  |  |  | 12 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.95304 | 1350.715 | 40 | 180 | 140 | 1099.13
|  |  |  | 13 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.94923 | 1350.7188 | 40 | 180 | 140 | 1239.13
|  |  | 8.5136 | 14 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.94543 | 1350.7226 | 40 | 180 | 140 | 1379.13
LCOE ($/kWh) | 0.08073 |  |  | 15 | 0 | 0 | 40 | 51 | 1 | 1351.668 | 0.94165 | 1350.7263 | 91 | 180 | 89 | 1468.13
|  |  |  | 16 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.93788 | 1350.7301 | 40 | 180 | 140 | 1608.13
|  |  |  | 17 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.93413 | 1350.7339 | 40 | 180 | 140 | 1748.13
| 109.1199 |  |  | 18 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.9304 | 1350.7376 | 40 | 180 | 140 | 1888.13
|  |  |  | 19 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.92667 | 1350.7413 | 40 | 180 | 140 | 2028.13
PV system |  |  |  | 20 | 0 | 0 | 40 | 0 | 1 | 1351.668 | 0.92297 | 1350.745 | 40 | 180 | 140 | 2168.13
NPV | 604.1092
IRR | 24.15%
PBP | 5